## Instructions
WASH in Healthcare Facilites in Response to COVID-19
Indicator Assessment Tools
Instructions:
The tools in this worksheet were developed to accommodate rapid assessment of healthcare facilities for capacity to respond to a surge in COVID-19 cases. They were developed from the World Health Organization (WHO)’s “Water and Sanitation for Health Facility Improvement Tool (WASH FIT)” (2018) and were modified for COVID-19 response based upon WHO’s “Water, Sanitation, Hygiene and Waste Management for the COVID-19 Virus, Technical Brief “(3 March 2020). The tools cover four broad area considered critical to COVID-19 response: • Health, Cleanliness, Disinfection and PPE • Water • Sanitation and Solid Waste • Building and Power Each area includes indicators and targets within separate tabs for achieving minimum standards for maintaining a safe and clean environment. In addition, the worksheet includes a tab for general information about the healthcare facility and a final scoring tab.
Steps:
1. Review all tabs and decide which indicators will be assessed and monitored, which need to be adapted to national standards and whether additional indicators will be included.
2. Conduct a comprehensive assessment of the facility using the agreed list of indicators; record whether each indicator meets (+++), partially meets (++), or does not meet (+), the minimum standards
3. Record additional information in the notes column, for example, the reasons why a particular indicator does not meet the target.
4. Indicator numbers with a * next to them indicate that the notes at the bottom of the spreadsheet provide more details on how to evaluate them.
5. On each tab and within the Scoring tab, tally the percentage of indicators which meet (+++), partially meet (++), or do not meet (+) the standards in the summary tables and calculate the overall facility score (the percentage of all indicators meetings the standards).
6. Review the assessment forms to ensure all information is clear and correct and all members of the assessment team agree.

## 1. General
WASH in Healthcare Facilites in Response to COVID-19
Indicator Assessment Tools
1. General Information
Assessor(s): |  |  |  |  | Contact Details:
Date of Assessment:
Health Facility Name and Location (Distric, Town, Village, etc.): | [7 empty] | Total No. of Staff:
No. of Doctors:
GPS Long: |  |  |  | GPS Lat: |  |  |  | No. of Nurses:
Type of Healthcare Facility: | [7 empty] | No. of Inpatients:
□ | Hospital | □ | Clinic | □ | Health Post | □ | Temp. Clinic | No. of Beds:
□ | COVID-19 Treatment Unit |  |  | □ | Threapeutic Feeding Center |  |  | Occupancy Rate (%):
□ | Other (describe): | [6 empty] | Outpatients/Day:
Expected COVID-19 % increase:
Contact Name: |  |  |  |  | Position:
Phone: |  |  |  |  | Email:
General Notes:
Facilities Present
□ | kitchen | □ | triage area |  | □ | inpatient beds
□ | laundry | □ | waiting area |  | □ | mortuary
□ | latrines | □ | COVID-19 wait area |  | □ | showers
□ | laboratory | □ | oxygen on site |  |  | no. of ventillators
Electric Power |  |  |  | Solid Waste Treatment
□ | none |  |  | □ | waste pit
□ | grid power |  |  | □ | incenerator
□ | generator |  |  | □ | medical waste separated
□ | solar |  |  | □ | other(describe):
□ | other(describe):
water supply: |  |  |  | sanitation/hygiene facilities: |  |  | No.
□ | none |  |  | □ | none
□ | dug well with hand pump |  |  | □ | basic pit latrines
□ | dug well with motorized pump |  |  | □ | improved latrines
□ | borehole with hand pump |  |  | □ | water closets - flush
□ | borehole with motorized pump |  |  |  | □ | onsite septic
□ | public taps and piped distribution |  |  |  | □ | municipal sewer
□ | rainwater harvesting |  |  | □ | hand washing stations
□ | trucked water
□ | water storage tank
describe:

## 2. Hygiene
WASH in Healthcare Facilites in Response to COVID-19
Indicator Assessment Tools
2. Hygiene, Cleaning, Disenfection, and PPE
Notes:
* | See associated notes below
No. | Indicator | Meets target (+++) | Partilly meets target (++) | Does not meet target (+) | +++ ++ or + | Notes
2.1 * | Functioning hand hygiene stations are available at key locations throughout the facility | Yes | Some stations present but more are needed | None present
2.2 * | Hand hygiene promotion materials clearly visible and understandable at key places | Yes | Some places but not all | None present
2.3 * | COVID-19 risk communication materials are is posted at key places | Yes | Some places but not all | None present
2.4 | Soap or other hand cleaners supplied at all hand hygiene stations | Yes | Some places but not all | None present
2.5 | Hand washing stations are kept full of safe water or are piped | Yes | Some places but not all | None present
2.6 | Handwashing water is treated with a 0.05% chlorine solution | Yes | Water reported to be safe but not treated with chlorine | None present
2.7 | Staff regularly monitors hand hygiene stations for adequate soap or other hand cleaners and safe water levels | Yes | Procedure is known but not applied | Procedure is not known or applied
2.8 | Floors are in good condition and cleaned. Horizontal surfaces appear clean | Yes | Some do but others do not | Most or all floors and/or surfaces are visibly dirty
2.9 | Appropriate and well maintained materials for cleaning (detergent, mops, buckets, etc.) are present | Yes | Available but in poor condition | Not available
2.10* | Appropriate personal protective equipment (PPE) is provided for any staff screening patients or working with suspected or known COVID 19 cases. | Yes | Available but in poor condition or inadequate supplies | Not available
2.11 | Gloves, aprons, and boots in good state are provided for all cleaning and waste disposal staff | Yes | Available but in poor condition | Not available
|  | Hygiene Scoring |  |  | Count | %
Indicators that meet targets +++
Indicators that partially meet targets ++
Indicators that do not meet targets +
Hygiene, Cleaning, and Disenfection Notes
2.1 | Key locations include every critical HCFs room (entrance, screening and observation, points of care, toilets, laboratory, kitchen, laundry, showers, waste zone, mortuary, and exit).
2.2 | Key locations include points of care, the waiting room, at the facility entrance, and within 5 m of latrines.
2.3 | Key locations include points of care, the waiting room, and at the facility entrance.
2.8 | Flooring material is in good condition and can be easily cleaned. Clean as noted by absence of waste, visible dirt and excreta, and insects. Enviornmental surfaces for objects contaminated with blood, other body fuids, secretions or excretions are cleaned and disinfected as soon as possible using standard hospital detergents/disinfectants.
2.10 | Appropriate PPE for COVID-19 response includes: a. Disposable gloves b. Clean, long-sleeve gown, c. Medical mask that covers the mouth and nose d. A respirator (N95)when caring for a suspected/confirmed case of COVID-19 with an aerosol generating procedure e. Eye protection such as goggles or a face shield

## 3. Water
WASH in Healthcare Facilites in Response to COVID-19
Indicator Assessment Tools
3. Water
Notes:
* | See associated notes below
No. | Indicator | Meets target (+++) | Partilly meets target (++) | Does not meet target (+) | +++ ++ or + | Notes
3.1* | Improved water supply piped into the facility or on premises and available | Yes | Improved water supply on premises but outside of facility | None present or in place but not available
3.2* | Water services available at all times and of sufficient quantity for all uses | Yes | More than five days per week or every day but not of sufficient quantity | Fewer than five days per week
3.3 | A reliable drinking water station is present and accessible for staff, patients, and care givers at all times and in all locations/wards | Yes | Sometimes or only in some places or not available for all users | Not available
3.4* | Potable water is treated with chlorine (0.2 mg/l minimum free chlorine residual) or treated with a proven technology that meets MoH or WHO performance standards | Yes | Water reported to be safe but not rgularly treated | None present
3.5* | Water storage is sufficient to met the anticipated demands of the facility for two days | Yes | Water storage is present but does not meet two days need | None present
|  | Water Scoring |  |  | Count | %
Indicators that meet targets +++
Indicators that partially meet targets ++
Indicators that do not meet targets +
Water Notes
3.1 | Improved water sources in health care settings include piped water, boreholestube wells, protected wells, protected springs, rainwater, and packeaged or delivered water. This refers to the water supply for general purposes, including drinking, washing, and cleaning
3.2 | For an intermittent piped water supply, e.g. avaiable eight hours per day.
3.4 | Evidece of documented chlorine residuals should be available from previous testing. Proven technologies should meet one of WHO's household water treatment and safe storge performance categories and generally invole filters, boiling, solar, chlorine or coagulations/flocculation.
3.5 | Estimated daily demand = (10 liters x # of staff & outpatients) + (40 liters x # of beds)

## 4. Sanitation and Solid Waste
WASH in Healthcare Facilites in Response to COVID-19
Indicator Assessment Tools
4. Sanitation and Solid Waste
Notes:
* | See associated notes below
No. | Indicator | Meets target (+++) | Partilly meets target (++) | Does not meet target (+) | +++ ++ or + | Notes
4.1* | An adequate number of usable toilets or improved latrines are available for staff, patients, and visitors | Yes | Sufficient number present but not all functioning or insufficient number | Less than 50% of reuqired number available and functioning
4.2 | Toilets or improved latrines clearly spearated for staff and patients and for males and females | Yes | Seperate latrines are available but not clearly separated | No separate latrines
4.3* | Functioning hand hygiene stations within 5m of latrines | Yes | Present but not functioning, >5m, or no soap | Not present
4.4* | Wastewater is safely managed though use of on-site treatment (i.e. septic tank and soakage pit) or sent to a functioning sewer system | Yes | Present but not functioning | Not present
4.5* | Separate, functional waste collection containers in close proximity to waste generation points for: ˑ non-infectious (general) waste ˑ infectious waste ˑ sharps waste | Yes | Separate bins present but lids missing or more than three quarters full or not enough bins | No bins or separate sharps disposal
4.6 | Functional waste pit/fenced waste dump or municipal pick-up available for disposal of non-infectious waste | Yes | Pit in facility but insufficient dimensions; overfilled or not fenced and locked; irregular municipal waste pick up, etc. | No pit or other disposal metihod
4.7 | Incinerator or alternative treatment technology for the treatment of infectious and sharp waste is functional and of a sufficient capacity | Yes | Present but not functional and/or of a sufficient capacity | None present
|  | Sanitation Scoring |  |  | Count | %
Indicators that meet targets +++
Indicators that partially meet targets ++
Indicators that do not meet targets +
Sanitation and Solid Waste Notes
4.1 | At least four toilets per outpatient setting (one for staff, one for female patients; one for male patients; one for diabled users). More latrines may be needed depending on the size of the facility. Improved saniation facilities include flush toilets into managed sewer or septic tank and soakaway pit, VIP latrines, pit latrines with slab, and compositng toilets. To be usable, the toilet/latrine should have a door which is unlocked when not in use and can be locked from the inside during use, there should be no major holes in the structure, the hole or pit should not be chocked, water should be available for flush/pour flush toilets, and there should be no cracks, or leaks in the toilet structre. It should be within the grounds of the facility and it should be clean as noted by absence of waste, visible dirt, excreta, and insects.
4.3 | A functional hand hygiene station may consist of soap and water with a basin/pan for washing hands.
4.4 | There should be no leakage from pipes nor soakaway and all sanitation facilites should be located at least 30 m from any water source.
4.5 | Functional means waste containers should not be more than three-quarters full, be leak-proof with a lid, and clearly labelled.

## 5. Building and Power
WASH in Healthcare Facilites in Response to COVID-19
Indicator Assessment Tools
5. Building and Power
Notes:
* | See associated notes below
No. | Indicator | Meets target (+++) | Partilly meets target (++) | Does not meet target (+) | +++ ++ or + | Notes
5.1 | The facility has separate entrances for COVID-19 and non-COVID-19 cases to enter and exit | Yes | Multiple entrances but not currently marked for COVID-19 cases | No separate entrance
5.2 | The facility has separate waiting rooms for COVID and non-COVID patients | Yes | Separate room is available but not currently marked for COVID-19 patients | No separate waiting area
5.3 | The facility has posters reinforcing social distancing and waiting rooms accommodate 2m social distance | Yes | Posters lacking | waiting room has insufficient space
5.4 | Does the facility have reliable electric power (less than 1 hrs of down time per day) | Yes | Facility has power but it is unreliable | No power at facility
5.5 | Is the power sufficient to run all the equipment at the same time | Yes | Facility must manage loads by turning off some equipment | Power is not reliable
5.6 | Does the facility have a back up power source (generator) sufficient to power critical equipment | Yes | Present but not functioning or inadequate fuel supply | Not present
|  | Sanitation Scoring |  |  | Count | %
Indicators that meet targets +++
Indicators that partially meet targets ++
Indicators that do not meet targets +
Building and Power Notes

## Scoring
WASH in Healthcare Facilites in Response to COVID-19
Indicator Assessment Tools
Facility Scoring
|  | Assessment 1 |  | Assessment 2 |  | Assessment 3
|  | % | Notes | % | Notes | % | Notes
Hygiene, Cleaning, Disenfection and PPE Total number of indicators assessed: __________ | Assessment Date:
+++
++
+
Water Total number of indicators assessed: __________ | Assessment Date:
+++
++
+
Sanitation and Solid Waste Total number of indicators assessed: __________ | Assessment Date:
+++
++
+
Building and Power Total number of indicators assessed: __________ | Assessment Date:
+++
++
+
Overall Facility Score Total number of indicators assessed: __________ | Assessment Date:
+++
++
+